**Road Inspection Notes - Rockford Township - May 11, 2019**

The road inspection began at 8:00 a.m. All supervisors were present.

**30th Street SE –** Noted pavement cracking on the road near VanderKooi’s; depression near storm drain on south side, curb needs to be jacked.

**35th Street SE –** viewed

**32nd Street SE –** viewed frost boils with clay coming through, water on side of roads.

**33rd Street SE –** viewed easement to recreational lot.

**Briarwood Avenue SE –** viewed entrance, noted road repaving project solved road flooding.

**45th Street SE –** viewed road, repair or replace culvert damaged during spring flooding and evaluate the need to replace the three culverts on the road when water level recedes.

**Deadrick Avenue SE –** Noted damage in ditch on east side of culvert **south of** ~~near~~ railroad tracks, repair/replace culvert. Noted erosion around driveway culverts on West side (power company driveways).

**Eastwood Avenue SE –** viewed multiple property owners not using erosion control, silt fence, problem area Eaton Court SE – no erosion control near wetland to the South.

Storage Facility – 2680? Ebersole Avenue SE – numerous issues – no 911 sign – erosion issues

Eastwood Avenue SE – consider a makeover for the main portion to correct problem areas and possibly upgrade that portion to 10 ton in the future.

**Farmington Avenue SE, North –** Could use a mill & overlay soon, spot need repair/patching near 154.

**9th Street SE –** Bad area east of 7358, popcorn/alligatoring, fix from 7342 East this year. No parking signs are on the road.

**347 Halsey Avenue SE –** check on the history of the long underground culvert (DNR?)

**Division – town line road –** Road is unacceptable, not built according to plan. Culverts are not at right levels.

**6th Street SE –** viewed.

**Garrison Avenue SE –** viewed the road project area for the new Kohn development.

**Eaken Avenue SE –** viewed.

**24th Street SE –** viewed problem cul-de-sac area, possible tile project area.

**Halsey & Haug Avenue SE, Clearwater –** consider structure on SE corner to provide access to pipes and fill erosion hole.

**Hall Avenue SE –** damaged closed road sign. Install multiple posts with 9 button signs.

**Edmondson Avenue SE –** viewed.

**Rockford Oaks –** viewed.

The road inspection was complete at 11:40 a.m.

Notes taken by Karen McDougall